PASSPORT No 2030

OJSC “Naftan”, Novopolotsk

Propane-butane automotive

Under contract

Produced: 21/11/2017

Tank E1/8

| No | Parameters | Requirements according to TRLA | Factual |
| --- | --- | --- | --- |
| 1. | Motor octane number (MON), min | 89,0 | 96,0 |
| 2. | Sum of methane, ethane and ethylene, wt % | - | 0,06 |
|  | propane | 40,0 - 60,0 | 56,44 |
|  | propylene | - | 0,00 |
|  | sum of butylene | - | 0,3 |
|  | butane normal | - | 0,17 |
|  | isobutane | - | 43,01 |
|  | sum of C5 hydrocarbons and above | - | 0,02 |
|  | sum of unsaturated hydrocarbons, max | 6,0 | 0,3 |
| 3. | Liquid residue, max, vol % | 1,6 | 1,0 |
| 4. | Vapour pressure, at the temperature of plus 45 ºC, MPa, max | 1,6 | 1,1 |
| 5. | Hydrogen sulfide and mercaptan sulfur, %, max | 0,035 | 0,004 |
|  | including hydrogen sulfide, max | 0,003 | 0,0010 |
| 6. | Free water and caustic content | Abs. | Abs. |
| 7. | Density at 20ºC, kg/m3 | - | 524,0 |
| 8. | Density at 15ºC, kg/m3 | - | 531,1 |
| 9. | Copper strip corrosion (1 h at 40 ºC) | passed | passed |